Date: December 15, 2021

# CITY OF LOS ANGELES

DEPARTMENT OF PUBLIC WORKS

BUREAU OF ENGINEERING

# SUMMARY OF FIRST NOTICE REPLIES

| W.O. No.: ## SZC12309 | Job ID.: 1112 | Project Title: ##### SSRP S05 10TH AVENUE & 71ST STREET |
| --- | --- | --- |

Bidders are advised that project plans usually depict the location of substructures as they existed when the project was designed.  Present-day information may indicate that new facilities may have been added or are going to be added.  Some of those substructures may now be or will be relocated, abandoned, removed, lowered, raised, blanketed, encased, enlarged, protected, or altered in some other way.  Bidders are urged to carefully examine the proposed construction site for any evidence of recent surfacing of excavations, or the possible conflict with surface or aerial installations.  Contractor should use the latest substructure maps and prepare their bid accordingly.  If further information or clarification is desired, bidders are urged to immediately contact the appropriate utility company or the appropriate District Office of the Bureau of Engineering. Contractors may also contact the Utility Coordination Group, 1149 S. Broadway Street, Suite 140, Los Angeles, CA 90015, eng-utilitycoord@lacity.org. The contractor will need to coordinate work with utility companies during construction if necessary.

Based on the confirmation from the following utility companies, they have facilities within the improvement area that will definitely be affected.

| DWP- WATER – CENTRAL DISTRICT | Martin Lam | (213) 367 – 1241 |
| --- | --- | --- |
| Anticipated Water System work consists of relocation of Pit #4: Offset 12” Cl main in Mission Rd (60ft) and other conditions or requirements applicable to this improvement. Work will require 5 working days of coordinates work. Contact Water Distribution Service-Business Arrangements Office at (213)367-2130 to request temporary water service or for information on required financial arrangements. To request facilities to be marked in the field, call UNDERGROUND SERVICE ALERT at 1-(800)227-2600, two working days before excavation. For paving clearance, call Jim Park of Central District Field Office at (213) 367-6794 |  |  |

Based on the confirmation from the following utility companies, they have facilities within the improvement area that may not require relocation but will mark them upon request. Notify Underground Service Alert at 1-800-227-2600 two working days prior to excavation to have facilities marked:

| BUREAU OF STREET LIGHTING | Daniel Ordonia | (213) 847 – 1568 |
| --- | --- | --- |
| LOS ANGELES COUNTY DEPARTMENT OF PUBLIC WORKS | Daryll W. Chenoweth | (626) 458 – 3109 |
| Storm Drains: Weston Drain 9811, 488, 3820. Sewers: S-1588, S-1589, S-1642 |  |  |
| SOUTHERN CALIFORNIA GAS – DISTRIBUTION | Jason Sum | (310) 687 – 2011 |
| AT&T CALIFORNIA (SBC) | Cathy Hurtado | (626) 817 – 4263 |
| CHARTER COMMUNICATIONS | Lisa N. Law Patrick Houston | (972) 537 – 5323 (972) 537 – 5394 |
| METROPOLITAN WATER DISTRICT | Melissa Choi | (213) 217 – 7516 |
| LUMEN | Aliyah Skaro | (720) 888 – 2944 |
| LADOT | Joseph Keung | (213) 972 – 4977 |
| VERIZON BUSINESS | John Bachelder | (972) 729 – 6322 |
| LA METRO | David Daniels A. D’Jean DeVolle Daniel De La Cruz Mattie Jones Silvia Osorio Jose Santos | (213) 922 – 5190 (213) 922 – 5192 (213) 922 – 5076 (213) 922 – 5023 (213) 922 – 5191 (213) 922 – 5193 |
| Contact Metro’s Special Events Desk at (213) 922-4632 approximately five days prior to construction at any location where a Metro bus stop impacts the project and the bus stop requires temporary relocation |  |  |

Based on the confirmation from the following utility companies, there are no facilities within the improvement area that will be affected:

| INFORMATION TECHNOLOGY AGENCY | Frank Gonzalez | (213) 978 – 4032 |
| --- | --- | --- |
| AT&T LONG DISTANCE | Joseph Forkert | (714) 963 – 7964 |
| MOTIVE ENERGY (AT&T MOBILITY) | John Crosse | (714) 465 – 5101 |
| CHEVRON PIPELINE | Dave Zerler | (310) 669 – 4014 |
| SOUTHERN CALIFORNIA GAS – TRANSMISSION | Ron Silver | (818) 701 – 4536 |

The following utility companies have not responded to the First Utility Notice, but they may have facilities within the improvement area.

| DWP – POWER | Patrick Magallanes |  |  | (213) 367 – 2659 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| [Use the following for SSRP projects only] |  |  |  |  |  |  |
| BUREAU OF STREET LIGHTING |  | Daniel Ordonia |  | (213) 847 – 1568 |  |  |

Please refer to NOTE 27 of the plans for Bureau of Street Lighting facilities.

Reynaldo Sison, PE

Acting Division Engineer

Project Award and Control Division

Bureau of Engineering

Department of Public Works