Attachment 24.1-1

Responsibility: Construction Manager (CM)

[  ] Introduce Startup Team to Contractor.

[  ] Approve Contractor Startup Schedule.

[  ]  Approve Final O&M Manual and MSDS Yellow Book.

[  ]  Transmit Final O&M Manual and MSDS Yellow Book to Owner/Client.

[  ]  Approve Final Recommended Spare Parts List.

[  ] Approve Final O&M Training Plan.

[  ]   Approve Final O&M Training Materials.

[  ] Approve Final Phase 1 Operational Readiness Test procedures and forms.

[  ]  Approve Final Phase II Operational Readiness Test procedures and forms.

[  ]  Approve Final Functional Test procedures and forms.

[  ]  Approve Performance Acceptance Test Criteria.

[  ]  Approve Final Facility Performance Test and Performance Acceptance Test Plans.

[  ]  Approve Facility Acceptance Test and Performance Acceptance Test Reports.

[  ]  Submit Punch List to Contract Administration.

[  ]   Prepare and issue Notice(s) of Deficiency(ies) to Contractor.

[  ]  Accept and transmit spare parts to Owner/Client.

[  ]   Prepare and issue Notice of Substantial Completion.

[  ]  Begin hand over to Owner/Client (Beneficial Occupancy).

[  ]  Prepare and issue Notice of Completion.

Page 1 of 1