Attachment 24.1-3

Responsibility: Bureau of Contract Administration

[  ] Verify/witness proper installation of equipment.

[  ] Review and submit comments on Preliminary Instrument Calibration Forms, Alignment Data Forms, Vibration Analysis Forms Equipment Checkout Forms, Electrical Test Forms, and Noise Analysis data forms.

[  ] Review and submit comments on Final Phase 1 Operational Readiness Test procedures and forms to CM.

[  ] Verify/witness Phase I Operational Readiness Test.

[  ]  Review and submit comments on Final Phase II Operational Readiness Test procedures and forms to CM.

[  ] Verify/witness Phase II Operational Readiness Test.

[  ] Review and submit comments on Final Functional Test procedures and forms to CM.

[  ] Verify/witness Functional Testing of unit processes and sub-units.

[  ] Review and submit comments on Final Facility Performance Test and Performance Acceptance Test Plan to CM.

[  ] Verify/witness Final Facility Performance Test and Performance Acceptance Test.

[  ] Review and submit comments on Draft Facility Performance Test and Performance Acceptance Test Reports to CM.

[  ] Prepare Final Punch List.

[  ] Prepare and issue Notice(s) to Correct.

[  ]  Verify/witness Punch List items and deficiencies corrected.

[  ] Perform Partial Final inspection.

[  ] Prepare and issue Notice of Substantial Completion.

[  ] Perform Final inspection.

[  ] Issue Notice of Completion.

Page 1 of 1